AUTOVENT 2000 SIMULATOR

[image: image1.emf]EtCO2

SaO2

Rate  10

8 20

%

Tidal Vol (ml) 731

400 1200

mmHg

In-Line PEEP 5

0 10

50

Minute Ventilation 7310

ml/min

50

Alveolar Ventilation 4310

ml/min normal poor

Flow  29.24

LPM

(set by the vent) 300

Pressure 15

cm H2O normal triple

FiO2 0.21

fixed

90

0.9

I Time (sec) 1.5

fixed

normal severe ARDS

E Time (sec) 4.5

variable

I:E Ratio 3.0

 1:x, variable

760

PaCO2

 

40.0

mmHg ABQ Sea level

PAO2 # 99.7

mmHg

PaO2

 

94.2

mmHg

SaO2 # 97

% 10

low normal

Copyright M. Richards 2001. Version 8-31-01

Barometric Pressure

Value of Added PEEP 

Compliance

  Patient Options

Simple Transport Ventilator - Adult Male 70 kg

Oxygenation (PaO2/PAO2)

Dead Space

Calculations

 

SaO2 97

EtCO2 40

Adjustable Vent Parameters (Autovent 2000)





   


Ventilator Settings Area 
Settings on the ventilator, such as tidal volume, respiratory rate, and PEEP, can be adjusted here.


Patient Monitors Area
Reports predicted values of end tidal CO2 (EtCO2) and pulse oximetry (SaO2) given the ventilator settings and patient condition.


Arterial Blood Gas Area
A component of the calculations box, this area reports the expected blood gas values given the ventilator settings and patient condition.


Patient Options Area
Used to simulate various patient conditions such as ARDS or poor compliance such as that encountered in the setting of COPD.

B





A





D





C





D





C





B





A





C





D








